# Temperature and Pressure Monitoring and Alarm System Design

High Level Design:

- Initial stage system will read the configuration required.

- Create threads for read and process the temperature reading

- Monitor thread will read the temperature or pressure based on the configuration and update the common data structure

- The Processing thread will parse the threshold configuration for both temperature and pressure.

- Compare the read data with threshold and give warning, if the temperature exceeding will continue for sampling time set by the configuration.

Low Level Design Flow:

Polling Thread Config structure:

- Parameter

- Read function

- Polling time

- Last polling time

Process Thread Config structure:

- Parameter

- lower threshold

- higher threshold

- Check time interval

- Last check time interval

Common database structure

- Parameter

- Read value

Temperature Low threshold :-  -20 °C

Temperature Higher Threshold : 70 °C

Pressure Low Threshold : 0 PSI

Pressure High Threshold : 100 PSI


Response interval > polling time

Structure prototype:

Typedef enum

{

Param_Temp,

Param_Pressure,
	Param_Config

} polling_param;

typedef struct

{

polling_param polling_param_t;

Int iReadValue;

}read_data;

typedef struct

{

Polling_param polling_param_t;

int (*readfn)(void);

long int polling_time_in_ms;

long int last_poll_time_ms;

}polling_thread_config;

typedef struct

{

Polling_param polling_param_t;

int iHigherThreshold;

int iLowerThreashold;

long int liCheckingTime;

long int liLastChecktime;

}processing_thread_config;

Code flow:

- Declare two thread handles

- Create two thread for monitoring and processing

Monitoring thread:

- Read the monitoring thread configuration structure

- If the difference between the previous read time and present read time greater than the polling time, the thread will call the corresponding read function.

- Read function

  - Read the random value

  - Return the read value

- Assign the parameter value and read value to the common read structure

Processing thread:

- Read the configuration structure for processing thread.

- If the difference between the current check time and last check time greater than config check time move to next step, else no process

- Parse the common structure data

- Check the read value parsed from the structure is exceeds the threshold range.

- If value is exceeding the threshold, print the warning message else no process